## Schedule
Name of Work :Maintenance works-Renovation works of toilets and bathrooms in the female general ward of the hospital QUOTATION SHEDULE
Item no | Quantity | Description of work | Unit | Quoted rate |  | Amount
|  |  |  | In figure | In words | Rs.
Rs.
1 | 2 | 3 | 4 | 5 | 6 | 7
1 | 5.920 sqm | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead.For thickness of tiles 10 mm to 25mm | sqm
2 | 0.474 cum | Demolishing cement concrete manually / by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in-Charge.Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | cum
3 | 3.000 each | Dismantling doors, windows and clerestory windows (steel or wood ) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead:Of area 3 sq. metres and below | each
4 | 0.474 cum | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level:1:2:4 (cement : 2 coarse sand (zone-III)derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | cum
5 | 6.880 sqm | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS : 15622, of approved make, in all colours and shades, laid on 20 mm thick cement mortar 1:4(1 cement : 4 coarse sand), including grouting the joints with white cement and matching pigments etc., complete.Size of Tile 600 x 600 mm | sqm
6 | 6.880 sqm | Grouting the joints of flooring tiles having joints of 3 mm width, using epoxy grout mix 0.70 kg of organic coated filler of desired shade (0.10 kg of hardener and 0.20 kg of resin per kg). including filling /grouting and finishing complete as per direction of Engineer-in-charge.Size of Tile 600x600 mm | sqm
7 | 12.840 sqm | Providing and laying Vitrified tiles indifferent sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand), including grouting the joint with white cement & matching pigments etc. complete. Size of Tile 1200 x 600 mm | sqm
8 | 12.840 sqm | Grouting the joints of flooring tiles having joints of 3 mm width, using epoxy grout mix 0.70 kg of organic coated filler of desired shade (0.10 kg of hardener and 0.20 kg of resin per kg). including filling /grouting and finishing complete as per direction of Engineer-in-charge. Size of Tile 1200x600 mm | sqm
9 | 12.64 sqm | Providing and laying water proofing treatment in sunken portion of WCs, bathroom etc., by applying cement slurry mixed with water proofing cement compound consisting of applying : a) First layer of slurry of cement @ 0.488 kg/sqm mixed with water proofing cement compound @ 0.253 kg/sqm. This layer will be allowed to air cure for 4 hours. b) Second layer of slurry of cement @ 0.242 kg /sqm mixed with water proofing cement compound @ 0.126 kg/ sqm. This layer will be allowed to air cure for 4 hours followed with water curing for 48 hours. The rate includes preparation of surface, treatment and sealing of all joints, corners, junctions of pipes and masonry with polymer mixed slurry. | sqm
10 | 3.000 no | Providing and fixing trap of self cleansing design with screwed down or hinged grating without vent arm complete, including cost of cutting and making good the walls and floors: 100 mm inlet and 75 mm outletHubless centrifugally cast (spun) iron epoxy coated inside &amp; outside as per IS:15905 | no
11 | 2.000 each | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required:W.C. pan with ISI marked white solid plastic seat and lid | each
12 | 2.000 no | Supplying and fixing CP Health faucet good quality including cost of materials and labour charges etc. complete as per the direction of site engineer-in-charge. | no
13 | 3.000 no | Supplying and fixing CP Towel rod 60cm or nearest available length including cost of materials and labour charges etc complete as per the direction of site Engineer-incharge. | no
14 | 1.000 meter | Providing and fixing PVC pipes, fittings including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes with one step PVC solvent cement and testing of joints complete as per direction of Engineer-in-Charge. Concealed work, including cutting chases and making good the wall etc. 75 mm pipe 6 Kgf/cm2 | meter
15 | 1.000 meter | Providing and fixing PVC pipes, fittings including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes with one step PVC Solvent cement and testing of joints complete as per direction of Engineer-in-Charge. Concealed work, including cutting chases and making good the wall etc. 110 mm pipe 4 kgf/cm2 | meter
16 | 1.000 no | Supplying and fixing Stainless steel soap dish including cost of materials and labour charges etc complete as per the direction of site Engineer-in-charge. | no
17 | 1.620 sqm | Providing and fixing factory made white colour UPVC ventilator of approved make, manufactured out of extruded UPVC profiles conforming to relevant ASTM / BS standards, with wall thickness as per approved profile section, including outer frame, mullion/transom wherever required, sash profiles, glazing beads, EPDM gasket, stainless steel screws, friction stays, handles, locking arrangement and all necessary accessories complete.The ventilator shall be fitted with adjustable / fixed louvered glass arrangement using approved quality clear glass louvers of 5 mm thick, fixed in suitable UPVC / aluminium louver holding clips and supported with operating mechanism wherever required, complete for proper ventilation and weather protection.The frame and sash corners shall be fusion welded / mechanically joined as per manufacturer specification. The item includes all fittings, fasteners, packing, sealing with silicon sealant, making good the jambs, including cutting chases if required and finishing complete in all respects. | sqm
18 | 3.000 each | Taking out P.V.C door frame &amp; shutter and re-fixing the PVC door with necessary fittings after carrying out rework, including stacking within 50 metres lead: Of area 3 sq. metres and below | each
GRAND TOTAL